CERTIFICATE OF GAS AND CYLINDER

To (Consignee):

Mr. Masaharu EHARA

Nissan Tanaka Corporation

486-1 Onozaki, Tsukuba 300-0034,

JAPAN

Attention:  Mr. Masaharu EHARA

We hereby certify that the following are true and correct:

- Purchase Order No.:	S00005267

- Part No. of bottles or cylinder:	N/A

- Part Name:	Ambient Air Gas Mixture ( UN1002 )

- Serial Numbers: CA05285, CA05300, CA05278

- Assemblage: (In case the above is assembled in end unit and shipped, please specify the following).

A.	Part No. and name of end unit:	N/A

B.	Serial No. and name of end unit:	N/A

- Detail Data:

| State and name of gas | GAS, AIR, COMPRESSED |
| --- | --- |
| Component of gas | AIR |
| Volume of gas charged | 4.01 metres3 @ 35°C, 1.033 kg/cm2 |
| Weight of gas contained | 4.8 kg |
| Filling pressure of gas, temperature | 140.0 kg/cm2 @ 35°C |
| Date of gas charged | 1 January 2005 |
| Specification of bottle/ cylinder | DOT 3AL 2015 |
| Hydrostatic test date | September 2001 |
| Original test date | September 2001 |
| Hydrostatic Test Pressure | 3360 PSI (23.152 MPa) |
| Quantity | 3 |
| Size | 8.00 inches (203.200mm) outside diameter by 47.813 inches (1214.450mm) long, MIN volume: 1800CU.IN. (29.5 liter) |
| Name of Company where gas charged | CSIRO MARINE & ATMOSPHERIC RESEARCH (Australia) |
| Address of above (8) | 107 - 121 STATION STREET ASPENDALE, VICTORIA, AUSTRALIA |
| Name of Company where bottle/ cylinder manufactured | Luxfer Gas Cylinders, USA |
| Address of above (10) | 3016 KANSAS AVENUE, RIVERSIDE, CALIFORNIA, USA (Formerly 1995 THIRD STREET, RIVERSIDE, CALIFORNIA, USA) |

| NOTE: The maximum filling pressure is 2015 psig (141.7 kg/cm2). | Company: CSIRO Marine & Atmospheric Research Date:11 February 2009 Signed By: Dr. Paul Steele |
| --- | --- |